## UC1
DATA | ANO | MÊS | PERIODO | PIS/PASEP | COFINS | ICMS | DEMANDA_CONTRATADA_P [kW] | DEMANDA_CONTRATADA_FP [kW] | DEMANDA_REGISTRADA_P [kW] | DEMANDA_REGISTRADA_FP [kW] | DEMANDA_ISENTA_P [kW] | DEMANDA_ISENTA_FP [kW] | TAR_TUSD_KW_P [R$/kW] | TAR_TUSD_KW_FP [R$/kW] | ENERGIA_PONTA [kWh] | ENERGIA_FPONTA [kWh] | TAR_TUSD_KWH_P [R$/kWh] | TAR_TUSD_KWH_FP [R$/kWh] | TAR_TE_KWH_P [R$/kWh] | TAR_TE_KWH_FP [R$/kWh] | REAT_KVAR_PONTA [kVAr] | REAT_KVAR_FPONTA [kVAr] | TAR_REAT_PONTA [R$/kVAr] | TAR_REAT_FPONTA [R$/kVAr] | Valor da Fatura [R$] | Consumo Total [kWh] | ULTRAPASSAGEM_FP [kW] | TAR_ULTRAP_FP [R$/kW] | ENERGIA_HFP_VERDE [kWh] | ENERGIA_HP_VERDE [kWh] | ENERGIA_HFP_AMAR [kWh] | ENERGIA_HP_AMAR [kWh] | ENERGIA_HFP_VERM [kWh] | ENERGIA_HP_VERM [kWh] | TAR_BAND_AMAR_HP [R$/kWh] | TAR_BAND_AMAR_HFP [R$/kWh] | TAR_BAND_VERM_HP [R$/kWh] | TAR_BAND_VERM_HFP [R$/kWh] | Acrescimo_Bamar [R$] | Acrescimo_Bverm1 [R$] | Acrescimo_Bverm2 [R$]
2017-01-19 | 2017 | 1 | 30 | 0.0099 | 0.0459 |  | 0 | 5150 | 0 | 4769.3 |  |  | 0 | 13.08 | 97919 | 1168560 | 0.67081 | 0.07209 | 0.35182 | 0.23593 | 11167 | 66528 | 0.24559 | 0.24559 | 567291.86 | 1266479 | [8 empty] | 0.015 | 0.015 | 0.03 | 0.03
2017-02-18 | 2017 | 2 | 30 | 0.0098 | 0.0455 |  | 0 | 5150 | 0 | 4864.3 |  |  | 0 | 13.08 | 106879 | 1363392 | 0.67081 | 0.07209 | 0.35182 | 0.23593 | 10277 | 50760 | 0.24559 | 0.24559 | 609672.65 | 1470271 | [8 empty] | 0.02 | 0.02 | 0.03 | 0.03
2017-03-22 | 2017 | 3 | 32 | 0.0107 | 0.0494 |  | 0 | 5150 | 0 | 5737 |  |  | 0 | 15.76 | 128898 | 1400544 | 0.79061 | 0.07138 | 0.38791 | 0.25392 | 9219 | 73224 | 0.26509 | 0.26509 | 725135.97 | 1529442 | 587 | 29.2584 | 416880 | 30966 | 983664 | 97932 |  |  | 0.02 | 0.02 | 0.03 | 0.03 | 23015.119
2017-04-22 | 2017 | 4 | 31 | 0.0111 | 0.0512 |  | 0 | 5150 | 0 | 5391.4 |  |  | 0 | 15.76 | 133557 | 1354320 | 0.79061 | 0.07138 | 0.3606 | 0.22662 | 9100 | 69984 | 0.26509 | 0.26509 | 750554.66 | 1487877 |  |  |  |  | 456408 | 48993 | 897912 | 84564 | 0.02 | 0.02 | 0.03 | 0.03 | 10779.5817 | 31432.5217
2017-05-23 | 2017 | 5 | 31 | 0.0106 | 0.0488 |  | 0 | 5150 | 0 | 0 |  |  | 0 | 15.76 | 114426 | 1205280 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 62640 | 8808 | 0.26509 | 0.26509 | 700884.37 | 1319706 | [6 empty] | 1205280 | 114426 | 0.02 | 0.02 | 0.03 | 0.03 |  | 42091.5346
2017-06-22 | 2017 | 6 | 30 | 0.0107 | 0.0497 |  | 0 | 5150 | 0 | 4164.5 |  |  | 0 | 15.76 | 105628 | 1021032 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 7413 | 61344 | 0.26509 | 0.26509 | 593792.07 | 1126660 | [6 empty] | 1021032 | 105628 | 0.02 | 0.02 | 0.03 | 0.03 |  | 9592.6649
2017-07-21 | 2017 | 7 | 29 | 0.0105 | 0.0485 |  | 0 | 5150 | 0 | 3170.9 |  |  | 0 | 15.76 | 92314 | 899856 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 9547 | 65880 | 0.26509 | 0.26509 | 541503.7 | 992170 |  |  | 295056 | 32923 | 604800 | 59391 |  |  | 0.02 | 0.02 | 0.03 | 0.03 | 14116.6956
2017-08-23 | 2017 | 8 | 33 | 0.0104 | 0.0482 |  | 0 | 5150 | 0 | 3542.4 |  |  | 0 | 15.76 | 107091 | 1054728 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 10681 | 80784 | 0.26509 | 0.26509 | 617593.08 | 1161819 |  |  |  |  | 328320 | 30106 | 726408 | 76985 | 0.02 | 0.02 | 0.03 | 0.03 | 7614.7389 | 25602.0702
2017-09-21 | 2017 | 9 | 29 | 0.0096 | 0.0444 |  | 0 | 5150 | 0 | 4285.4 |  |  | 0 | 15.76 | 108190 | 1024056 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 7986 | 62424 | 0.26509 | 0.26509 | 612404.85 | 1132246 |  |  |  |  | 715608 | 72392 | 308448 | 35798 | 0.02 | 0.02 | 0.03 | 0.03 | 16659.6044 | 10916.8875
2017-10-24 | 2017 | 10 | 33 | 0.0042 | 0.0196 |  | 0 | 5150 | 2851.2 | 5011.2 |  |  | 0 | 15.76 | 116793 | 1270728 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 8383 | 66960 | 0.26509 | 0.26509 | 695491.96 | 1387521 | [8 empty] | 0.02 | 0.02 | 0.035 | 0.35 | 7754.1 |  | 36178.48
2017-11-23 | 2017 | 11 | 30 | 0.0092 | 0.0426 |  | 0 | 5150 | 2574.72 | 4777.92 |  |  | 0 | 15.76 | 91493 | 1073520 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 10316 | 72576 | 0.26509 | 0.26509 | 624624.27 | 1165013 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 |  |  | 57132.56
2017-12-22 | 2017 | 12 | 29 | 0.0095 | 0.044 |  | 0 | 5150 | 2220 | 4406 |  |  | 0 | 15.76 | 91515 | 1110024 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 11275 | 68904 | 0.26509 | 0.26509 | 693792.51 | 1201539 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 |  | 44212.03
Note on G1: ====== ID#AAAAK1z3X-o user (2020-11-25 17:37:45) Isenção ICMS Art 2º Dec. 43903/12
Note on K6: ====== ID#AAAAK1z3X_U user (2020-11-25 17:37:45) Fatura acusa "0", mas foi faturado os 5150kW
Note on V1: ====== ID#AAAAK1z3X-8 user (2020-11-25 17:37:45) Retirado de UFER
Note on W1: ====== ID#AAAAK1z3X-s user (2020-11-25 17:37:45) Retirado de UFER. (Leitura atual - Leitura anterior) x Constante
Note on AB1: ====== ID#AAAAK1z3X-k user (2020-11-25 17:37:45) Demanda ultrapassada acima de 5%
Note on AC1: ====== ID#AAAAK1z3X_Y user (2020-11-25 17:37:45) Tarifa para ultrapassagem da demanda contratada (valor cobrado)
Note on AD1: ====== ID#AAAAK1z3X-w user (2020-11-25 17:37:45) Consumo Bandeira Verde Horário Fora Ponta
Note on AE1: ====== ID#AAAAK1z3X-0 user (2020-11-25 17:37:45) Consumo Bandeira Verde Horário de Ponta
Note on AF1: ====== ID#AAAAK1z3X_E user (2020-11-25 17:37:45) Consumo Bandeira Amarela Horário Fora Ponta
Note on AG1: ====== ID#AAAAK1z3X-g user (2020-11-25 17:37:45) Consumo Bandeira Amarela Horário de Ponta
Note on AH1: ====== ID#AAAAK1z3X_A user (2020-11-25 17:37:45) Consumo Bandeira Vermelha Horário Fora Ponta
Note on AI1: ====== ID#AAAAK1z3X_M user (2020-11-25 17:37:45) Consumo Bandeira Vermelha Horário de Ponta
Note on AJ1: ====== ID#AAAAHaV6seU user (2020-12-07 22:25:49) Tarifa da Bandeira Amarela em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AK1: ====== ID#AAAAHaV6seY user (2020-12-07 22:25:49) Tarifa da Bandeira Amarela em horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AL1: ====== ID#AAAAHaV6seg user (2020-12-07 22:25:49) Tarifa da Bandeira Vermelha em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AM1: ====== ID#AAAAHaV6sec user (2020-12-07 22:25:49) Tarifa da Bandeira Vermelha em Horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD