## UC1
DATA | ANO | MÊS | PERIODO | PIS/PASEP | COFINS | ICMS | DEMANDA_CONTRATADA_P [kW] | DEMANDA_CONTRATADA_FP [kW] | DEMANDA_REGISTRADA_P [kW] | DEMANDA_REGISTRADA_FP [kW] | DEMANDA_ISENTA_P [kW] | DEMANDA_ISENTA_FP [kW] | TAR_TUSD_KW_P [R$/kW] | TAR_TUSD_KW_FP [R$/kW] | ENERGIA_PONTA [kWh] | ENERGIA_FPONTA [kWh] | TAR_TUSD_KWH_P [R$/kWh] | TAR_TUSD_KWH_FP [R$/kWh] | TAR_TE_KWH_P [R$/kWh] | TAR_TE_KWH_FP [R$/kWh] | REAT_KVAR_PONTA [kVAr] | REAT_KVAR_FPONTA [kVAr] | TAR_REAT_PONTA [R$/kVAr] | TAR_REAT_FPONTA [R$/kVAr] | Valor da Fatura [R$] | Consumo Total [kWh] | ULTRAPASSAGEM_FP [kW] | TAR_ULTRAP_FP [R$/kW] | ENERGIA_HFP_VERDE [kWh] | ENERGIA_HP_VERDE [kWh] | ENERGIA_HFP_AMAR [kWh] | ENERGIA_HP_AMAR [kWh] | ENERGIA_HFP_VERM [kWh] | ENERGIA_HP_VERM [kWh] | TAR_BAND_AMAR_HP [R$/kWh] | TAR_BAND_AMAR_HFP [R$/kWh] | TAR_BAND_VERM_HP [R$/kWh] | TAR_BAND_VERM_HFP [R$/kWh] | Acrescimo_Bamar [R$] | Acrescimo_Bverm1 [R$] | Acrescimo_Bverm2 [R$]
2018-01-24 | 2018 | 1 | 31 | 0.0106 | 0.0492 |  | 0 | 5150 | 1961 | 4113 |  |  | 0 | 15.76 | 74093 | 973728 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 12966 | 96336 | 0.26509 | 0.26509 | 631383 | 1047821 |  |  | 787968 | 61623 |  |  | 185760 | 12470 | 0.01 | 0.01 | 0.03 | 0.03 |  | 6323.13
2018-02-21 | 2018 | 2 | 28 | 0.0108 | 0.0497 |  | 0 | 5150 | 2298 | 4320 |  |  | 0 | 15.76 | 65898 | 777600 | 0.79061 | 0.07138 | 0.38874 | 0.25476 | 11604 | 68472 | 0.26509 | 0.26509 | 462557.26 | 843498 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03
2018-03-23 | 2018 | 3 | 30 | 0.0108 | 0.0497 |  | 0 | 5150 | 3326 | 5823 |  |  | 0 | 17.61 | 129351 | 1364688 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 9584 | 61128 | 0.26934 | 0.26934 | 805107.09 | 1494039 | 673 | 34.7312 | [6 empty] | 0.01 | 0.01 | 0.03 | 0.03
2018-04-24 | 2018 | 4 | 32 | 0.0092 | 0.0427 |  | 0 | 5150 | 3223 | 5607 |  |  | 0 | 17.61 | 128483 | 1351944 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 9122 | 75600 | 0.26934 | 0.26934 | 790497.41 | 1480427 | 457 | 37.148 | [6 empty] | 0.01 | 0.01 | 0.03 | 0.03
2018-05-24 | 2018 | 5 | 30 | 0.0104 | 0.0481 |  | 0 | 5150 | 2678 | 4501 |  |  | 0 | 17.61 | 110283 | 1054296 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 10092 | 71712 | 0.26934 | 0.26934 | 689478.11 | 1164579 |  |  | 227880 | 25736 | 826416 | 84547 |  |  | 0.01 | 0.01 | 0.03 | 0.03 | 9675.64
2018-06-25 | 2018 | 6 | 32 | 0.0111 | 0.0513 |  | 0 | 5150 | 2333 | 3767 |  |  | 0 | 17.61 | 85713 | 903096 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 11530 | 95472 | 0.26934 | 0.26934 | 614689.11 | 988809 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 | 2514.48 |  | 40988.46
2018-07-25 | 2018 | 7 | 30 | 0.0155 | 0.0715 |  | 0 | 5150 | 2333 | 3672 |  |  | 0 | 17.61 | 98006 | 968328 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 11424 | 79056 | 0.26934 | 0.26934 | 723204.12 | 1066334 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 |  |  | 58397.25
2020-08-25 | 2018 | 8 | 30 | 0.0097 | 0.0448 |  | 0 | 5150 | 2203 | 3560 |  |  | 0 | 17.61 | 93286 | 908928 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 11353 | 93286 | 0.26934 | 0.26934 | 671041.84 | 1002214 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 |  |  | 52999.15
2018-09-25 | 2018 | 9 | 32 | 0.0113 | 0.0523 |  | 0 | 5150 | 2488 | 4320 |  |  | 0 | 17.61 | 105499 | 1064016 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 9951 | 85104 | 0.26934 | 0.26934 | 760632.33 | 1169515 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 |  |  | 62447.39
2018-10-25 | 2018 | 10 | 30 | 0.0093 | 0.0429 |  | 0 | 5150 | 3162 | 5158 |  |  | 0 | 17.61 | 120174 | 1177200 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 9737 | 72144 | 0.26934 | 0.26934 | 971412.25 | 1297374 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 |  |  | 68441.33
2018-11-26 | 2018 | 11 | 32 | 0.0112 | 0.0518 |  | 0 | 5150 | 2652 | 4769 |  |  | 0 | 17.61 | 92629 | 1111968 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 10351 | 87480 | 0.26934 | 0.26934 | 696342.81 | 1204597 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 | 10445.73 |  | 12052.06
2018-12-27 | 2018 | 12 | 31 | 0.0083 | 0.0382 |  | 0 | 5150 | 2436 | 4630 |  |  | 0 | 17.61 | 100747 | 1203984 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 11480 | 73656 | 0.26934 | 0.26934 | 728983.54 | 1304731 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05 | 1824.46
Note on G1: ====== ID#AAAAK1I2kEM user (2020-11-24 14:06:50) Isenção ICMS Art 2º Dec. 43903/12
Note on V1: ====== ID#AAAAK1I2kEE user (2020-11-24 14:06:50) Retirado de UFER
Note on W1: ====== ID#AAAAK1I2kEQ user (2020-11-24 14:06:50) Retirado de UFER. (Leitura atual - Leitura anterior) x Constante
Note on AB1: ====== ID#AAAAK1I2kEA user (2020-11-24 14:06:50) Demanda ultrapassada
Note on AC1: Tarifa para ultrapassagem da demanda contratada (valor cobrado)
Note on AD1: ====== ID#AAAAK1I2kEI user (2020-11-24 14:06:50) Consumo Bandeira Verde Horário Fora Ponta
Note on AE1: ====== ID#AAAAK1I2kD4 user (2020-11-24 14:06:50) Consumo Bandeira Verde Horário de Ponta
Note on AF1: ====== ID#AAAAK1I2kD0 user (2020-11-24 14:06:50) Consumo Bandeira Amarela Horário Fora Ponta
Note on AG1: ====== ID#AAAAK1I2kD8 user (2020-11-24 14:06:50) Consumo Bandeira Amarela Horário de Ponta
Note on AH1: ====== ID#AAAAK1I2kDw user (2020-11-24 14:06:50) Consumo Bandeira Vermelha Horário Fora Ponta
Note on AI1: ====== ID#AAAAK1I2kEU user (2020-11-24 14:06:50) Consumo Bandeira Vermelha Horário de Ponta
Note on AJ1: ====== ID#AAAAHaU9Li4 user (2020-12-07 22:25:45) Tarifa da Bandeira Amarela em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AK1: ====== ID#AAAAHaU9Li0 user (2020-12-07 22:25:45) Tarifa da Bandeira Amarela em horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AL1: ====== ID#AAAAHaU9LjA user (2020-12-07 22:25:45) Tarifa da Bandeira Vermelha em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AM1: ====== ID#AAAAHaU9Li8 user (2020-12-07 22:25:45) Tarifa da Bandeira Vermelha em Horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD