## UC1
DATA | ANO | MÊS | PERIODO | PIS/PASEP | COFINS | ICMS | DEMANDA_CONTRATADA_P [kW] | DEMANDA_CONTRATADA_FP [kW] | DEMANDA_REGISTRADA_P [kW] | DEMANDA_REGISTRADA_FP [kW] | DEMANDA_ISENTA_P [kW] | DEMANDA_ISENTA_FP [kW] | TAR_TUSD_KW_P [R$/kW] | TAR_TUSD_KW_FP [R$/kW] | ENERGIA_PONTA [kWh] | ENERGIA_FPONTA [kWh] | TAR_TUSD_KWH_P [R$/kWh] | TAR_TUSD_KWH_FP [R$/kWh] | TAR_TE_KWH_P [R$/kWh] | TAR_TE_KWH_FP [R$/kWh] | REAT_KVAR_PONTA [kVAr] | REAT_KVAR_FPONTA [kVAr] | TAR_REAT_PONTA [R$/kVAr] | TAR_REAT_FPONTA [R$/kVAr] | Valor da Fatura [R$] | Consumo Total [kWh] | ULTRAPASSAGEM_FP [kW] | TAR_ULTRAP_FP [R$/kW] | ENERGIA_HFP_VERDE [kWh] | ENERGIA_HP_VERDE [kWh] | ENERGIA_HFP_AMAR [kWh] | ENERGIA_HP_AMAR [kWh] | ENERGIA_HFP_VERM [kWh] | ENERGIA_HP_VERM [kWh] | TAR_BAND_AMAR_HP [R$/kWh] | TAR_BAND_AMAR_HFP [R$/kWh] | TAR_BAND_VERM_HP [R$/kWh] | TAR_BAND_VERM_HFP [R$/kWh] | Acrescimo_Bamar [R$] | Acrescimo_Bverm1 [R$] | Acrescimo_Bverm2 [R$]
2019-01-25 | 2019 | 1 | 30 | 0.0085 | 0.0395 |  | 0 | 5150 | 2091 | 4743 |  |  | 0 | 17.61 | 82404 | 1038528 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 12867 | 83808 | 0.26934 | 0.26934 | 602960.97 | 1120932 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05
2019-02-22 | 2019 | 2 | 28 | 0.0088 | 0.0408 |  | 0 | 5150 | 2367 | 4916 |  |  | 0 | 17.61 | 89690 | 1179360 | 0.87493 | 0.1016 | 0.40755 | 0.25678 | 11120 | 64152 | 0.26934 | 0.26934 | 668245.8 | 1269050 | [8 empty] | 0.01 | 0.01 | 0.05 | 0.05
2019-03-26 | 2019 | 3 | 32 | 0.0092 | 0.0426 |  | 0 | 5150 | 3240 | 5564 |  |  | 0 | 17.5 | 110095 | 1227312 | 0.91267 | 0.12544 | 0.45601 | 0.28514 | 10428 | 83808 | 0.28368 | 0.28368 | 768490.95 | 1337407 | 414 | 37.0571 | [6 empty] | 0.01 | 0.01 | 0.03 | 0.03
2019-04-25 | 2019 | 4 | 30 | 0.0118 | 0.0543 |  | 0 | 5150 | 3084 | 5521 |  |  | 0 | 17.5 | 119327 | 1206144 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 10079 | 71712 | 0.28368 | 0.28368 | 825198.92 | 1325471 | 371 | 37.4772 | [6 empty] | 0.01 | 0.01 | 0.03 | 0.03
2019-05-27 | 2019 | 5 | 32 | 0.009 | 0.0415 |  | 0 | 5150 | 4890 | 2886 |  |  | 0 | 17.5 | 118498 | 1243512 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 9908 | 78840 | 0.28368 | 0.28368 | 829281.5 | 1362010 |  |  | 254880 | 23527 | 988632 | 94971 |  |  | 0.01 | 0.01 | 0.03 | 0.03 | 11412.35
2019-06-25 | 2019 | 6 | 29 | 0.009 | 0.0419 |  | 0 | 5150 | 2341 | 3758 |  |  | 0 | 17.5 | 94450 | 938088 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 10387 | 78408 | 0.28368 | 0.28368 | 672213.39 | 1032538 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 | 1500.57
2019-07-25 | 2019 | 7 | 30 | 0.0087 | 0.0402 |  | 0 | 5150 | 2324 | 3784 |  |  | 0 | 17.5 | 90275 | 895752 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 11359 | 75600 | 0.28368 | 0.28368 | 610722.29 | 986027 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 | 12959.02
2019-08-26 | 2019 | 8 | 32 | 0.0086 | 0.0396 |  | 0 | 5150 | 2013 | 3344 |  |  | 0 | 17.5 | 87581 | 891864 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 11724 | 85104 | 0.28368 | 0.28368 | 629014.11 | 979445 |  |  |  |  | 194184 | 18513 | 697680 | 69068 | 0.01 | 0.01 | 0.03 | 0.03 | 3351.18 | 32223.9
2019-09-24 | 2019 | 9 | 29 | 0.008 | 0.037 |  | 0 | 5150 | 2644 | 4700 |  |  | 0 | 17.5 | 103514 | 964224 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 9897 | 68688 | 0.28368 | 0.28368 | 668142.46 | 1067738 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 |  | 44722
2019-10-25 | 2019 | 10 | 31 | 0.0088 | 0.0407 |  | 0 | 4913 | 2843 | 4536 |  |  | 0 | 17.5 | 110607 | 1058832 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 10860 | 71064 | 0.28368 | 0.28368 | 774297.29 | 1169439 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 | 14884.23 | 9524.13
2019-11-26 | 2019 | 11 | 32 | 0.0045 | 0.0209 |  | 0 | 4913 | 3102 | 5633 |  |  | 0 | 17.5 | 108276 | 1150848 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 10085 | 82080 | 0.28368 | 0.28368 | 837385.77 | 1259124 | 720 | 35.9122 | [6 empty] | 0.01 | 0.01 | 0.03 | 0.03 | 3369.83 | 44028.75
2019-12-26 | 2019 | 12 | 30 | 0.0053 | 0.0248 |  | 0 | 4913 | 2566 | 4156 |  |  | 0 | 17.5 | 91906 | 935712 | 0.91267 | 0.12544 | 0.44048 | 0.26942 | 10152 | 67392 | 0.28368 | 0.28368 | 621306.63 | 1027618 | [8 empty] | 0.01 | 0.01 | 0.03 | 0.03 | 12332.29 | 5889.15
Note on G1: ====== ID#AAAAK1UYkB4 user (2020-11-25 17:35:26) Isenção ICMS Art 2º Dec. 43903/12
Note on V1: ====== ID#AAAAK1UYkBw user (2020-11-25 17:35:26) Retirado de UFER
Note on W1: ====== ID#AAAAK1UYkB0 user (2020-11-25 17:35:26) Retirado de UFER. (Leitura atual - Leitura anterior) x Constante
Note on AB1: ====== ID#AAAAK1UYkBo user (2020-11-25 17:35:26) Demanda ultrapassada
Note on AC1: user: Tarifa para ultrapassagem da demanda contratada (valor cobrado)
Note on AD1: ====== ID#AAAAK1UYkBU user (2020-11-25 17:35:26) Consumo Bandeira Verde Horário Fora Ponta
Note on AE1: ====== ID#AAAAK1UYkBY user (2020-11-25 17:35:26) Consumo Bandeira Verde Horário de Ponta
Note on AF1: ====== ID#AAAAK1UYkBs user (2020-11-25 17:35:26) Consumo Bandeira Amarela Horário Fora Ponta
Note on AG1: ====== ID#AAAAK1UYkBg user (2020-11-25 17:35:26) Consumo Bandeira Amarela Horário de Ponta
Note on AH1: ====== ID#AAAAK1UYkBc user (2020-11-25 17:35:26) Consumo Bandeira Vermelha Horário Fora Ponta
Note on AI1: ====== ID#AAAAK1UYkBk user (2020-11-25 17:35:26) Consumo Bandeira Vermelha Horário de Ponta
Note on AJ1: ====== ID#AAAAHaUajzw user (2020-12-07 22:25:40) Tarifa da Bandeira Amarela em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AK1: ====== ID#AAAAHaUajzs user (2020-12-07 22:25:40) Tarifa da Bandeira Amarela em horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AL1: ====== ID#AAAAHaUajz0 user (2020-12-07 22:25:40) Tarifa da Bandeira Vermelha em Horário de Ponta Diferença com Tarifa Verde TE + TUSD
Note on AM1: ====== ID#AAAAHaUajzo user (2020-12-07 22:25:40) Tarifa da Bandeira Vermelha em Horário Fora de Ponta Diferença com Tarifa Verde TE + TUSD